- LCD High Frequency Online Double Conversion UPS

- DSP digital control technology, Zero transfer time

- Single Phase Sine Wave, Output Power Factor 0.9 adjustable VAC and Hz by panel

- Wide Input Voltage and Frequency Range, Support Generator

- Self-testing and battery management function

- Automatic battery charging while UPS off mode

- Lightning, Surge, Short Circuit and Overload Protection, Alarm or Silence Settable

- Automatic and Manual Bypass

| Item | Model | XG6KS |
| --- | --- | --- |
| Capacity | VA / Watts | 6KVA / 5.4KW |
| Input | Rated voltage | 220/230VAC, Single Phase |
|  | Voltage range | within +/-20% of rated voltage |
|  | Frequency | 60Hz |
| Output | Normal voltage | 220/230VAC, Single Phase |
|  | Voltage regulation | ±1% |
|  | Frequency | 60Hz ± 0.5% |
|  | Wave form | Pure Sine Wave |
|  | Transfer time | 0 ms |
|  | Power factor | 0.8 |
|  | Crest factor | 3:1 |
|  | Overload | 125% - 150% for 30secs. |
| Battery | Battery Type | Maintenance free valve regulated lead acid (VRLA) battery |
|  | Configuration | External |
|  | Battery Cabinet | C4, w/ Battery Circuit Breaker |
|  | Back-up time | 15 minutes @ Full Load |
|  | Recharge time | ≤5 Hours to 90% capacity |
| Display | LCD Panel | Input/ Output Voltage |
|  |  | Frequency |
|  |  | Load (KVA/Watts and Percentage) |
|  |  | Battery Level |
|  |  | Operating Mode and Alarms |
| Working Environment | Working Temperature | - 20℃～40℃ |
|  | Humidity | 0-95% non-condensing |

Exclusive Distributor

AUTOMATION SPECIALISTS AND POWER EXPONENTS, INC.

ASPEX Bldg., 159 Boni Avenue, Brgy. Plainview, Mandaluyong City

Trunk line: (02) 8997-0000   Fax: (02) 8532-7228

www.aspexinc.com.ph