# LINE INTERACTIVE UPS

AD SERIES

- SMT Technology, Line Interactive UPS

- Metal Case with (On-Off Control)

- Built-in Boost and Buck AVR (Automatic Voltage Regulator)

- With surge protection

- Protection for Short Circuit, overload and battery low voltage

- LED indication and audible alarm function

- Silence Setup and Smart battery management function

- AUTO Restart function when AC recovers

- Off charge and Cold Start function

- RJ45 and USB is option

UPS 1200VA

LED Display

UPS1000VA

| Item | Model | AD1200 |
| --- | --- | --- |
| Capacity | VA/ Watts | 1200VA/720W |
| Input | Voltage Range | 220VAC/230VAC/240VAC |
|  | Nominal Voltage | 220VAC |
|  | Frequency | 50Hz-60Hz |
| Output | Voltage Range | 220VAC/230VAC/240VAC |
|  | Nominal Voltage | 220VAC |
|  | Frequency | 50Hz-60Hz |
|  | Transfer Time | ≤10 ms including direction time |
|  | Waveform | Modified Sine wave (Battery Mode) |
|  | Power Factor | 0.60 |
|  | Connections | 3-4 universal output sockets |
| Battery | Type | Sealed lead acid maintenance-free, auto inspection, discharge protection and battery fault caution |
|  | Capacity | 12V, 9Ah |
|  | Charging time | 6 Hours |
| Protection | Full Protection | Over discharge, short circuit and overload protection |
| Alarm | Battery Mode | Sounding every 4 seconds |
|  | Low Battery | Sounding every second |

Exclusive Distributor:

AUTOMATION SPECIALISTS AND POWER EXPONENTS, INC.

ASPEX Bldg., 159 Boni Avenue, Brgy. Plainview, Mandaluyong City

Email: aspex@aspexinc.com.ph

Trunk line: (02) 8997-0000   Fax: (02) 8532-7228